表9.5-2
研究所課程綱要表

	課程名稱：（中文）智慧電網導論
	開課系所
	電機所

	（英文）Introduction to Smart Grid
	課程代碼
	4155545_01

	授課教師：吳元康

	學分數
	3
	必/選修
	選修
	開課年級
	研究所

	先修科目或先備能力：電路學, 電力系統, 電力電子

	課程概述與目標：
1. Study fundamentals of distribution system and Smart Grid.

2. Study Information and Communication Technologies required in Smart Grid.

3. Study Seamless Integration of Renewable Energy Resources in Smart Grid.

課程目標：
1. Introduction to Smart Grid

2. Smart Grid Standards

3. Distributed Energy Resources Integration in Smart Grid

4. Case Study

	教科書1
	Class hands-out

	參考書
	Turan Gonen, Electric Power Distribution System Engineering, 2nd edition, Taylor & Francis Group, ISBN:1-4200-6200-X 

	課程綱要
	對應之學生核心能力
	備註

	單元主題
	內容綱要
	
	

	Distribution system planning and automation
	1. Distribution System Planning
1.1 Factors affecting system planning
	1.2  1.2  1.3

1.1  2.2  4.1

4.4
	

	Load characteristics
	1. Load classification

2. Electric meter types
3. Load forecasting
	1.2  1.3

1.2  2.2  4.1

4.4
	

	Application of distribution transformers
	1. Transformer connection

2. Autotransformer

3. Transformer efficiency
	1.2  1.3

1.3  2.2  4.1

4.4
	

	Design of sub-transmission lines and distribution substations
	1. Advanced SCADA concept

2. Substation automation
	1.2  1.3

1.4  2.2  4.1

4.4
	

	Voltage drop and power loss calculations
	1. Copper loss

2. Distribution cost analysis

3. Three-phase balanced primary lines
	1.2  1.3

1.5  2.2  4.1

4.4
	

	Application of capacitors to distribution systems
	1. Effect of series and shunt capacitors

2. Power factor correction

3. Case study


	1.2  1.3

1.6  2.2  4.1

4.4
	

	Distribution system protection 
	1. Protection devices

2. Voltage regulation

3. Coordination of protective devices


	1.2  1.3

1.7  2.2  4.1

4.4
	

	Smart Grid 
	1. Introduction to Modern Grid Characteristics

2. Introduction of ICT for Smart Grid
3. IEC Smart Grid Standards

4. IEEE Smart Grid Standards
5. Case study
	1.2  1.3

1.8  2.2  4.1

4.4
	

	教學要點概述2：
教材編選：■自編教材　　   □教科書作者提供
教學方法：■投影片講述　   ■板書講述　        □實例示範　     □操作練習
評量方法：■期末報告（40%） ■期中報告（40%） .   ■平時報告（20%）

教學資源：■課程網站       ■教材電子檔供下載  □其他                       
教學相關配合事項：

	核心能力

●1.1 ●1.2 ●1.3 ●2.1 ●2.2 ○3.1 ○3.2 ●4.1 ○4.2 ○4.3 ●4.4
1.1 學習電機／通訊工程相關領域之理論基礎
1.2 瞭解電機／通訊工程相關領域之實務技術
1.3 訓練專業論文寫作與簡報的能力
2.1 培養發掘與分析通訊工程特定領域專題研究之能力
2.2 培養規劃與執行通訊工程特定領域專題研究之能力
3.1 學習溝通與表達的能力
3.2 運用個人專長，與團隊成員合作達成計畫目標
4.1 瞭解國內外通訊工程特定領域產業現況
4.2
理解工程倫理及社會責任
4.3
培養良好的國際觀
4.4
培養科技英文能力


註：1.
教科書請註明書名、作者、出版社、出版年等資訊。
2.
教學要點概述請填寫教材編選、教學方法、評量方法、教學資源、教學相關配合事項等。
3.
研究所所有開設之課程，皆須填寫此表格或提供原有格式之課程綱要表。
